## L90 Analysis
L90 LUMINAIRE COMPARISON
Note: Edit only Yellow Cells
Market Data | [9 empty] | Grid Decarbonization Schedule
CO2e Grid Factor (kg/kWh) | 0.39 | [8 empty] | Year | Grid Factor (kg/kWh) | Annual Emissions (kgCO2e) | With Control | With Control + Maint
Current Electricity Rate ($/kWh) | 0.26 | [8 empty] | 1 | 0.39 | 10811.6667 | 8108.75 | 7703.3125
Average inflation rate | 3% | [8 empty] | 2 | 0.3822 | 10595.4333 | 7946.575 | 7549.2462
Loan Interest | 8% | Fill if loan taken to finance extra control system costs | [7 empty] | 3 | 0.3744 | 10379.2 | 7784.4 | 7395.18
Electricity Grid Decarbonisation | 30% | Additional reduction in electricity grid carbon from current levels | [7 empty] | 4 | 0.3666 | 10162.9667 | 7622.225 | 7241.1137
Electricity Grid Decarbonisation Timeframe (years) | 15 | Maximum 30 years | [7 empty] | 5 | 0.3588 | 9946.7333 | 7460.05 | 7087.0475
[10 empty] | 6 | 0.351 | 9730.5 | 7297.875 | 6932.9812
Project Data | [7 empty] | Control System Financing |  | 7 | 0.3432 | 9514.2667 | 7135.7 | 6778.915
Control System Coefficient (average) | 75% | Multiplier of base energy load accounting for control system efficiencies | [5 empty] | Additional Control Cost (per unit) | 39 | 8 | 0.3354 | 9298.0333 | 6973.525 | 6624.8488
Control Additional Cost Coefficient | 115% | Multiplier of base cost for additional control | [5 empty] | Total Additional Control Cost | 21666.6667 | 9 | 0.3276 | 9081.8 | 6811.35 | 6470.7825
Operational Hours/Year | 4990 | [6 empty] | Annual Loan Payment | 3228.9723 | 10 | 0.3198 | 8865.5667 | 6649.175 | 6316.7163
Anticipated Project Life (years) | 15 | Maximum 30 years | [5 empty] | Total Loan Payments | 32289.7226 | 11 | 0.312 | 8649.3333 | 6487 | 6162.65
Loan term (years) | 10 | Fill if loan taken to finance extra control system costs | [5 empty] | Total Interest Paid | 10623.0559 | 12 | 0.3042 | 8433.1 | 6324.825 | 6008.5837
[10 empty] | 13 | 0.2964 | 8216.8667 | 6162.65 | 5854.5175
L90 Luminaire Maintenance Factor | 0.9 | Maintenance factor used in calculations (will adjust quantities required for compliance) | [7 empty] | 14 | 0.2886 | 8000.6333 | 6000.475 | 5700.4513
[10 empty] | 15 | 0.2808 | 7784.4 | 5838.3 | 5546.385
Luminaire Data | [9 empty] | 16
Luminaire Type | Wattage (W) | Flux Lumens (lm) | Qty | L90 Lifetime (hours) | GWP - Cradle to Gate Total (kgCO2e) | GWP - EOL (kgCO2e) | Supply + Install Cost ($) |  |  | 17
A (Calculated Luminaire) | 10 | 1000 | 500 | 50000 | 10 | 0.5 | 260 |  |  | 18
19
20
LIFETIME ASSESSMENT | [9 empty] | 21
22
Lifetime Assessment L90 (years) | [9 empty] | 23
Luminaire Type | Lifetime | Lifetime with Control | Lifetime with Control + Maintenance Dimming | [6 empty] | 24
A (Calculated Luminaire) | 10.02 | 13.3601 | 14.0632 | [6 empty] | 25
26
ENERGY ASSESSMENT | [9 empty] | 27
28
Energy Assessment L90 (kWh/year) | [9 empty] | 29
Luminaire Type | Annual Energy | Annual Energy with Control | Annual Energy with Control + Maintenance Dimming | [6 empty] | 30
A (Calculated Luminaire) | 27722.2222 | 20791.6667 | 19752.0833 | [7 empty] | 0.3354 | 139470.5 | 104602.875 | 99372.7312
ENVIRONMENTAL ASSESSMENT (during life of project)
GWP Assessment L90 (kgCO2e)
Luminaire Type | Total GWP | Total GWP with Control | Total GWP with Control + Maintenance Dimming
A (Calculated Luminaire) | 148920.5 | 114052.875 | 108822.7312
COST ASSESSMENT (during life of project)
Cost Assessment L90 ($)
Luminaire Type | Total Cost | Total Cost with Control | Total Cost with Control + Maintenance Dimming
A (Calculated Luminaire) | 472737.5613 | 470001.2776 | 469476.8088

## L70 Analysis
L90 LUMINAIRE COMPARISON
Note: Edit only Yellow Cells
Market Data | [9 empty] | Grid Decarbonization Schedule
CO2e Grid Factor (kg/kWh) | 0.39 | [8 empty] | Year | Grid Factor (kg/kWh) | Annual Emissions (kgCO2e) | With Control | With Control + Maint
Current Electricity Rate ($/kWh) | 0.26 | [8 empty] | 1 | 0.39 | 13900.7143 | 10425.5357 | 8861.7054
Average inflation rate | 3% | [8 empty] | 2 | 0.3822 | 13622.7 | 10217.025 | 8684.4712
Loan Interest | 8% | Fill if loan taken to finance extra control system costs | [7 empty] | 3 | 0.3744 | 13344.6857 | 10008.5143 | 8507.2371
Electricity Grid Decarbonisation | 30% | Additional reduction in electricity grid carbon from current levels | [7 empty] | 4 | 0.3666 | 13066.6714 | 9800.0036 | 8330.003
Electricity Grid Decarbonisation Timeframe (years) | 15 | Maximum 30 years | [7 empty] | 5 | 0.3588 | 12788.6571 | 9591.4929 | 8152.7689
[10 empty] | 6 | 0.351 | 12510.6429 | 9382.9821 | 7975.5348
Project Data | [7 empty] | Control System Financing |  | 7 | 0.3432 | 12232.6286 | 9174.4714 | 7798.3007
Control System Coefficient (average) | 75% | Multiplier of base energy load accounting for control system efficiencies | [5 empty] | Additional Control Cost (per unit) | 39 | 8 | 0.3354 | 11954.6143 | 8965.9607 | 7621.0666
Control Additional Cost Coefficient | 115% | Multiplier of base cost for additional control | [5 empty] | Total Additional Control Cost | 27857.1429 | 9 | 0.3276 | 11676.6 | 8757.45 | 7443.8325
Operational Hours/Year | 4990 | [6 empty] | Annual Loan Payment | 4151.5358 | 10 | 0.3198 | 11398.5857 | 8548.9393 | 7266.5984
Anticipated Project Life (years) | 15 | Maximum 30 years | [5 empty] | Total Loan Payments | 41515.3576 | 11 | 0.312 | 11120.5714 | 8340.4286 | 7089.3643
Loan term (years) | 10 | Fill if loan taken to finance extra control system costs | [5 empty] | Total Interest Paid | 13658.2147 | 12 | 0.3042 | 10842.5571 | 8131.9179 | 6912.1302
[10 empty] | 13 | 0.2964 | 10564.5429 | 7923.4071 | 6734.8961
L70 Luminaire Maintenance Factor | 0.7 | [8 empty] | 14 | 0.2886 | 10286.5286 | 7714.8964 | 6557.662
[10 empty] | 15 | 0.2808 | 10008.5143 | 7506.3857 | 6380.4279
Luminaire Data | [9 empty] | 16
Luminaire Type | Wattage (W) | Flux Lumens (lm) | Qty | L70 Lifetime (hours) | GWP - Cradle to Gate Total (kgCO2e) | GWP - EOL (kgCO2e) | Supply + Install Cost ($) |  |  | 17
A (Calculated Luminaire) | 10 | 1000 | 500 | 100000 | 10 | 0.5 | 260 |  |  | 18
19
20
LIFETIME ASSESSMENT | [9 empty] | 21
22
Lifetime Assessment L70 (years) | [9 empty] | 23
Luminaire Type | Lifetime | Lifetime with Control | Lifetime with Control + Maintenance Dimming | [6 empty] | 24
A (Calculated Luminaire) | 20.0401 | 28.6287 | 33.6808 | [6 empty] | 25
26
ENERGY ASSESSMENT | [9 empty] | 27
28
Energy Assessment L70 (kWh/year) | [9 empty] | 29
Luminaire Type | Annual Energy | Annual Energy with Control | Annual Energy with Control + Maintenance Dimming | [6 empty] | 30
A (Calculated Luminaire) | 35642.8571 | 26732.1429 | 22722.3214 | [7 empty] | 0.3354 | 179319.2143 | 134489.4107 | 114315.9991
ENVIRONMENTAL ASSESSMENT (during life of project)
GWP Assessment L70 (kgCO2e)
Luminaire Type | Total GWP | Total GWP with Control | Total GWP with Control + Maintenance Dimming
A (Calculated Luminaire) | 182994.2143 | 138164.4107 | 117990.9991
COST ASSESSMENT (during life of project)
Cost Assessment L70 ($)
Luminaire Type | Total Cost | Total Cost with Control | Total Cost with Control + Maintenance Dimming
A (Calculated Luminaire) | 358073.0777 | 328641.5944 | 309251.2303

## L90 Vs L70
Comparison of L70 to L90 Values (L70 / L90)
ENVIRONMENTAL IMPACT DIFFERENCE USING L90 INSTEAD OF L70
Luminaire | Without Control | With Control | With Control + Maintenance Dimming
A | -18.62% | -17.45% | -7.77%
COST DIFFERENCE USING L90 INSTEAD OF L70
Luminaire | Without Control | With Control | With Control + Maintenance Dimming
A | 32.02% | 43.01% | 51.81%